## PS cPAHs
LDW AOC3 PW cPAH Passive Sampler Event 2 - prelim results
#sys_sample_code | lab_anl_method_name | cas_rn | chemical_name | result_value | result_unit | lab_qualifiers | DETECT_FLAG | analysis_date | analysis_time | total_or_dissolved | COLUMN_NUMBER | test_type | result_error_delta | result_type_code | REPORTABLE_RESULT | ORGANIC_YN | method_detection_limit | reporting_detection_limit | quantitation_limit | detection_limit_unit | tic_retention_time | result_comment | qc_original_conc | qc_spike_added | qc_spike_measured | qc_spike_recovery | qc_dup_original_conc | qc_dup_spike_added | qc_dup_spike_measured | qc_dup_spike_recovery | qc_rpd | qc_spike_lcl | qc_spike_ucl | qc_rpd_cl | qc_spike_status | qc_dup_spike_status | qc_rpd_status | validated_value | validator_qualifiers | validation_change_reason | validation_level | validator_notes
LDW18-PWPS-A01 | AXYS MLA-021 Rev 12 | 13C6-218-01-9 | 13C6-Chrysene | 1430 | ug/kg |  | Y | 2018-12-29 | 2:58 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.3 |  | ug/kg
LDW18-PWPS-A01 | AXYS MLA-021 Rev 12 | 362044-56-2 | 13C6-Indeno(123cd)pyrene | 6140 | ug/kg |  | Y | 2018-12-29 | 2:58 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 9.55 |  | ug/kg
LDW18-PWPS-A01 | AXYS MLA-021 Rev 12 | 1189955-53-0 | 13C6-Phenanthrene | 334 | ug/kg |  | Y | 2018-12-29 | 2:58 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 6.31 |  | ug/kg
LDW18-PWPS-A01 | AXYS MLA-021 Rev 12 | 56-55-3 | Benz[a]anthracene | 923 | ug/kg |  | Y | 2018-12-29 | 2:58 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.17 | 49.3 | ug/kg
LDW18-PWPS-A01 | AXYS MLA-021 Rev 12 | 50-32-8 | Benzo[a]pyrene | 621 | ug/kg |  | Y | 2018-12-29 | 2:58 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 10.2 | 49 | ug/kg
LDW18-PWPS-A01 | AXYS MLA-021 Rev 12 | 205-99-2 | Benzo[b]fluoranthene | 830 | ug/kg |  | Y | 2018-12-29 | 2:58 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 5.79 | 49.4 | ug/kg
LDW18-PWPS-A01 | AXYS MLA-021 Rev 12 | 205823/207089 | Benzo[j,k]fluoranthenes | 772 | ug/kg |  | Y | 2018-12-29 | 2:58 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 6.81 | 49.4 | ug/kg
LDW18-PWPS-A01 | AXYS MLA-021 Rev 12 | 218-01-9 | Chrysene | 1310 | ug/kg |  | Y | 2018-12-29 | 2:58 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.45 | 49.2 | ug/kg
LDW18-PWPS-A01 | AXYS MLA-021 Rev 12 | 53-70-3 | Dibenz[a,h]anthracene | 44.2 | ug/kg | J | Y | 2018-12-29 | 2:58 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 7.56 | 48.4 | ug/kg
LDW18-PWPS-A01 | AXYS MLA-021 Rev 12 | 206-44-0_D10 | Fluoranthene d-10 | 507 | ug/kg |  | Y | 2018-12-29 | 2:58 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.13 |  | ug/kg
LDW18-PWPS-A01 | AXYS MLA-021 Rev 12 | 193-39-5 | Indeno[1,2,3-cd]pyrene | 238 | ug/kg |  | Y | 2018-12-29 | 2:58 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 10.2 | 49.3 | ug/kg
LDW18-PWPS-A02 | AXYS MLA-021 Rev 12 | 13C6-218-01-9 | 13C6-Chrysene | 1550 | ug/kg |  | Y | 2018-12-28 | 19:18 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.83 |  | ug/kg
LDW18-PWPS-A02 | AXYS MLA-021 Rev 12 | 362044-56-2 | 13C6-Indeno(123cd)pyrene | 6400 | ug/kg |  | Y | 2018-12-28 | 19:18 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.06 |  | ug/kg
LDW18-PWPS-A02 | AXYS MLA-021 Rev 12 | 1189955-53-0 | 13C6-Phenanthrene | 86.5 | ug/kg |  | Y | 2018-12-28 | 19:18 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.694 |  | ug/kg
LDW18-PWPS-A02 | AXYS MLA-021 Rev 12 | 56-55-3 | Benz[a]anthracene | 10.8 | ug/kg | J | Y | 2018-12-28 | 19:18 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.7 | 43.8 | ug/kg
LDW18-PWPS-A02 | AXYS MLA-021 Rev 12 | 50-32-8 | Benzo[a]pyrene | 6.29 | ug/kg | J | Y | 2018-12-28 | 19:18 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.01 | 43.5 | ug/kg
LDW18-PWPS-A02 | AXYS MLA-021 Rev 12 | 205-99-2 | Benzo[b]fluoranthene | 13.7 | ug/kg | J | Y | 2018-12-28 | 19:18 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.631 | 43.8 | ug/kg
LDW18-PWPS-A02 | AXYS MLA-021 Rev 12 | 205823/207089 | Benzo[j,k]fluoranthenes | 9.66 | ug/kg | J | Y | 2018-12-28 | 19:18 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.737 | 43.8 | ug/kg
LDW18-PWPS-A02 | AXYS MLA-021 Rev 12 | 218-01-9 | Chrysene | 18.9 | ug/kg | J | Y | 2018-12-28 | 19:18 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.709 | 43.7 | ug/kg
LDW18-PWPS-A02 | AXYS MLA-021 Rev 12 | 53-70-3 | Dibenz[a,h]anthracene | 1.28 | ug/kg | U | N | 2018-12-28 | 19:18 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.28 | 42.9 | ug/kg
LDW18-PWPS-A02 | AXYS MLA-021 Rev 12 | 206-44-0_D10 | Fluoranthene d-10 | 169 | ug/kg |  | Y | 2018-12-28 | 19:18 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.619 |  | ug/kg
LDW18-PWPS-A02 | AXYS MLA-021 Rev 12 | 193-39-5 | Indeno[1,2,3-cd]pyrene | 0.953 | ug/kg | U | N | 2018-12-28 | 19:18 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.953 | 43.7 | ug/kg
LDW18-PWPS-A04 | AXYS MLA-021 Rev 12 | 13C6-218-01-9 | 13C6-Chrysene | 3440 | ug/kg |  | Y | 2018-12-28 | 20:56 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.76 |  | ug/kg
LDW18-PWPS-A04 | AXYS MLA-021 Rev 12 | 362044-56-2 | 13C6-Indeno(123cd)pyrene | 7210 | ug/kg |  | Y | 2018-12-28 | 20:56 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.9 |  | ug/kg
LDW18-PWPS-A04 | AXYS MLA-021 Rev 12 | 1189955-53-0 | 13C6-Phenanthrene | 664 | ug/kg |  | Y | 2018-12-28 | 20:56 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.96 |  | ug/kg
LDW18-PWPS-A04 | AXYS MLA-021 Rev 12 | 56-55-3 | Benz[a]anthracene | 79.5 | ug/kg |  | Y | 2018-12-28 | 20:56 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.761 | 51.4 | ug/kg
LDW18-PWPS-A04 | AXYS MLA-021 Rev 12 | 50-32-8 | Benzo[a]pyrene | 34.8 | ug/kg | J | Y | 2018-12-28 | 20:56 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.943 | 51 | ug/kg
LDW18-PWPS-A04 | AXYS MLA-021 Rev 12 | 205-99-2 | Benzo[b]fluoranthene | 72.7 | ug/kg |  | Y | 2018-12-28 | 20:56 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.585 | 51.4 | ug/kg
LDW18-PWPS-A04 | AXYS MLA-021 Rev 12 | 205823/207089 | Benzo[j,k]fluoranthenes | 59.5 | ug/kg |  | Y | 2018-12-28 | 20:56 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.656 | 51.4 | ug/kg
LDW18-PWPS-A04 | AXYS MLA-021 Rev 12 | 218-01-9 | Chrysene | 127 | ug/kg |  | Y | 2018-12-28 | 20:56 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.808 | 51.3 | ug/kg
LDW18-PWPS-A04 | AXYS MLA-021 Rev 12 | 53-70-3 | Dibenz[a,h]anthracene | 1.9 | ug/kg | U | N | 2018-12-28 | 20:56 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.9 | 50.3 | ug/kg
LDW18-PWPS-A04 | AXYS MLA-021 Rev 12 | 206-44-0_D10 | Fluoranthene d-10 | 940 | ug/kg |  | Y | 2018-12-28 | 20:56 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.69 |  | ug/kg
LDW18-PWPS-A04 | AXYS MLA-021 Rev 12 | 193-39-5 | Indeno[1,2,3-cd]pyrene | 9.94 | ug/kg | J | Y | 2018-12-28 | 20:56 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1 | 51.3 | ug/kg
LDW18-PWPS-A06 | AXYS MLA-021 Rev 12 | 13C6-218-01-9 | 13C6-Chrysene | 2400 | ug/kg |  | Y | 2018-12-29 | 1:20 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.21 |  | ug/kg
LDW18-PWPS-A06 | AXYS MLA-021 Rev 12 | 362044-56-2 | 13C6-Indeno(123cd)pyrene | 5650 | ug/kg |  | Y | 2018-12-29 | 1:20 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.52 |  | ug/kg
LDW18-PWPS-A06 | AXYS MLA-021 Rev 12 | 1189955-53-0 | 13C6-Phenanthrene | 545 | ug/kg |  | Y | 2018-12-29 | 1:20 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.12 |  | ug/kg
LDW18-PWPS-A06 | AXYS MLA-021 Rev 12 | 56-55-3 | Benz[a]anthracene | 223 | ug/kg |  | Y | 2018-12-29 | 1:20 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.09 | 48.4 | ug/kg
LDW18-PWPS-A06 | AXYS MLA-021 Rev 12 | 50-32-8 | Benzo[a]pyrene | 130 | ug/kg |  | Y | 2018-12-29 | 1:20 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.724 | 48.1 | ug/kg
LDW18-PWPS-A06 | AXYS MLA-021 Rev 12 | 205-99-2 | Benzo[b]fluoranthene | 266 | ug/kg |  | Y | 2018-12-29 | 1:20 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.461 | 48.4 | ug/kg
LDW18-PWPS-A06 | AXYS MLA-021 Rev 12 | 205823/207089 | Benzo[j,k]fluoranthenes | 220 | ug/kg |  | Y | 2018-12-29 | 1:20 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.539 | 48.4 | ug/kg
LDW18-PWPS-A06 | AXYS MLA-021 Rev 12 | 218-01-9 | Chrysene | 343 | ug/kg |  | Y | 2018-12-29 | 1:20 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.18 | 48.3 | ug/kg
LDW18-PWPS-A06 | AXYS MLA-021 Rev 12 | 53-70-3 | Dibenz[a,h]anthracene | 18.4 | ug/kg | J | Y | 2018-12-29 | 1:20 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.54 | 47.4 | ug/kg
LDW18-PWPS-A06 | AXYS MLA-021 Rev 12 | 206-44-0_D10 | Fluoranthene d-10 | 794 | ug/kg |  | Y | 2018-12-29 | 1:20 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.69 |  | ug/kg
LDW18-PWPS-A06 | AXYS MLA-021 Rev 12 | 193-39-5 | Indeno[1,2,3-cd]pyrene | 48 | ug/kg | J | Y | 2018-12-29 | 1:20 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.35 | 48.4 | ug/kg
LDW18-PWPS-A07 | AXYS MLA-021 Rev 12 | 13C6-218-01-9 | 13C6-Chrysene | 3500 | ug/kg |  | Y | 2018-12-29 | 3:47 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.43 |  | ug/kg
LDW18-PWPS-A07 | AXYS MLA-021 Rev 12 | 362044-56-2 | 13C6-Indeno(123cd)pyrene | 6730 | ug/kg |  | Y | 2018-12-29 | 3:47 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.33 |  | ug/kg
LDW18-PWPS-A07 | AXYS MLA-021 Rev 12 | 1189955-53-0 | 13C6-Phenanthrene | 749 | ug/kg |  | Y | 2018-12-29 | 3:47 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.43 |  | ug/kg
LDW18-PWPS-A07 | AXYS MLA-021 Rev 12 | 56-55-3 | Benz[a]anthracene | 431 | ug/kg |  | Y | 2018-12-29 | 3:47 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.91 | 53.5 | ug/kg
LDW18-PWPS-A07 | AXYS MLA-021 Rev 12 | 50-32-8 | Benzo[a]pyrene | 273 | ug/kg |  | Y | 2018-12-29 | 3:47 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.28 | 53.2 | ug/kg
LDW18-PWPS-A07 | AXYS MLA-021 Rev 12 | 205-99-2 | Benzo[b]fluoranthene | 424 | ug/kg |  | Y | 2018-12-29 | 3:47 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.04 | 53.6 | ug/kg
LDW18-PWPS-A07 | AXYS MLA-021 Rev 12 | 205823/207089 | Benzo[j,k]fluoranthenes | 352 | ug/kg |  | Y | 2018-12-29 | 3:47 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.32 | 53.6 | ug/kg
LDW18-PWPS-A07 | AXYS MLA-021 Rev 12 | 218-01-9 | Chrysene | 629 | ug/kg |  | Y | 2018-12-29 | 3:47 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.19 | 53.4 | ug/kg
LDW18-PWPS-A07 | AXYS MLA-021 Rev 12 | 53-70-3 | Dibenz[a,h]anthracene | 24.1 | ug/kg | J | Y | 2018-12-29 | 3:47 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.62 | 52.5 | ug/kg
LDW18-PWPS-A07 | AXYS MLA-021 Rev 12 | 206-44-0_D10 | Fluoranthene d-10 | 1060 | ug/kg |  | Y | 2018-12-29 | 3:47 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.91 |  | ug/kg
LDW18-PWPS-A07 | AXYS MLA-021 Rev 12 | 193-39-5 | Indeno[1,2,3-cd]pyrene | 100 | ug/kg | J | Y | 2018-12-29 | 3:47 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.79 | 53.5 | ug/kg
LDW18-PWPS-A07Dup | AXYS MLA-021 Rev 12 | 13C6-218-01-9 | 13C6-Chrysene | 2240 | ug/kg |  | Y | 2018-12-29 | 4:36 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.14 |  | ug/kg
LDW18-PWPS-A07Dup | AXYS MLA-021 Rev 12 | 362044-56-2 | 13C6-Indeno(123cd)pyrene | 6710 | ug/kg |  | Y | 2018-12-29 | 4:36 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.97 |  | ug/kg
LDW18-PWPS-A07Dup | AXYS MLA-021 Rev 12 | 1189955-53-0 | 13C6-Phenanthrene | 528 | ug/kg |  | Y | 2018-12-29 | 4:36 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 10.7 |  | ug/kg
LDW18-PWPS-A07Dup | AXYS MLA-021 Rev 12 | 56-55-3 | Benz[a]anthracene | 575 | ug/kg |  | Y | 2018-12-29 | 4:36 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.07 | 51.9 | ug/kg
LDW18-PWPS-A07Dup | AXYS MLA-021 Rev 12 | 50-32-8 | Benzo[a]pyrene | 464 | ug/kg |  | Y | 2018-12-29 | 4:36 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.7 | 51.5 | ug/kg
LDW18-PWPS-A07Dup | AXYS MLA-021 Rev 12 | 205-99-2 | Benzo[b]fluoranthene | 680 | ug/kg |  | Y | 2018-12-29 | 4:36 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.35 | 51.9 | ug/kg
LDW18-PWPS-A07Dup | AXYS MLA-021 Rev 12 | 205823/207089 | Benzo[j,k]fluoranthenes | 596 | ug/kg |  | Y | 2018-12-29 | 4:36 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.72 | 51.9 | ug/kg
LDW18-PWPS-A07Dup | AXYS MLA-021 Rev 12 | 218-01-9 | Chrysene | 843 | ug/kg |  | Y | 2018-12-29 | 4:36 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.31 | 51.8 | ug/kg
LDW18-PWPS-A07Dup | AXYS MLA-021 Rev 12 | 53-70-3 | Dibenz[a,h]anthracene | 34.9 | ug/kg | J | Y | 2018-12-29 | 4:36 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 6.33 | 50.9 | ug/kg
LDW18-PWPS-A07Dup | AXYS MLA-021 Rev 12 | 206-44-0_D10 | Fluoranthene d-10 | 608 | ug/kg |  | Y | 2018-12-29 | 4:36 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.58 |  | ug/kg
LDW18-PWPS-A07Dup | AXYS MLA-021 Rev 12 | 193-39-5 | Indeno[1,2,3-cd]pyrene | 150 | ug/kg |  | Y | 2018-12-29 | 4:36 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.39 | 51.9 | ug/kg
LDW18-PWPS-A08 | AXYS MLA-021 Rev 12 | 13C6-218-01-9 | 13C6-Chrysene | 1880 | ug/kg |  | Y | 2018-12-29 | 6:13 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 5.16 |  | ug/kg
LDW18-PWPS-A08 | AXYS MLA-021 Rev 12 | 362044-56-2 | 13C6-Indeno(123cd)pyrene | 7540 | ug/kg |  | Y | 2018-12-29 | 6:13 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.86 |  | ug/kg
LDW18-PWPS-A08 | AXYS MLA-021 Rev 12 | 1189955-53-0 | 13C6-Phenanthrene | 40.4 | ug/kg |  | Y | 2018-12-29 | 6:13 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 8.14 |  | ug/kg
LDW18-PWPS-A08 | AXYS MLA-021 Rev 12 | 56-55-3 | Benz[a]anthracene | 141 | ug/kg | J | Y | 2018-12-29 | 6:13 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.63 | 54.1 | ug/kg
LDW18-PWPS-A08 | AXYS MLA-021 Rev 12 | 50-32-8 | Benzo[a]pyrene | 188 | ug/kg |  | Y | 2018-12-29 | 6:13 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 4.19 | 53.8 | ug/kg
LDW18-PWPS-A08 | AXYS MLA-021 Rev 12 | 205-99-2 | Benzo[b]fluoranthene | 222 | ug/kg |  | Y | 2018-12-29 | 6:13 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.9 | 54.1 | ug/kg
LDW18-PWPS-A08 | AXYS MLA-021 Rev 12 | 205823/207089 | Benzo[j,k]fluoranthenes | 167 | ug/kg |  | Y | 2018-12-29 | 6:13 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.13 | 54.2 | ug/kg
LDW18-PWPS-A08 | AXYS MLA-021 Rev 12 | 218-01-9 | Chrysene | 213 | ug/kg |  | Y | 2018-12-29 | 6:13 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.83 | 54 | ug/kg
LDW18-PWPS-A08 | AXYS MLA-021 Rev 12 | 53-70-3 | Dibenz[a,h]anthracene | 14.5 | ug/kg | J | Y | 2018-12-29 | 6:13 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.08 | 53 | ug/kg
LDW18-PWPS-A08 | AXYS MLA-021 Rev 12 | 206-44-0_D10 | Fluoranthene d-10 | 119 | ug/kg |  | Y | 2018-12-29 | 6:13 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.63 |  | ug/kg
LDW18-PWPS-A08 | AXYS MLA-021 Rev 12 | 193-39-5 | Indeno[1,2,3-cd]pyrene | 75.4 | ug/kg | J | Y | 2018-12-29 | 6:13 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.04 | 54.1 | ug/kg
LDW18-PWPS-A10 | AXYS MLA-021 Rev 12 | 13C6-218-01-9 | 13C6-Chrysene | 2230 | ug/kg |  | Y | 2018-12-28 | 20:07 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.92 |  | ug/kg
LDW18-PWPS-A10 | AXYS MLA-021 Rev 12 | 362044-56-2 | 13C6-Indeno(123cd)pyrene | 7280 | ug/kg |  | Y | 2018-12-28 | 20:07 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 4.62 |  | ug/kg
LDW18-PWPS-A10 | AXYS MLA-021 Rev 12 | 1189955-53-0 | 13C6-Phenanthrene | 653 | ug/kg |  | Y | 2018-12-28 | 20:07 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 4.87 |  | ug/kg
LDW18-PWPS-A10 | AXYS MLA-021 Rev 12 | 56-55-3 | Benz[a]anthracene | 1480 | ug/kg |  | Y | 2018-12-28 | 20:07 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.8 | 56.6 | ug/kg
LDW18-PWPS-A10 | AXYS MLA-021 Rev 12 | 50-32-8 | Benzo[a]pyrene | 588 | ug/kg |  | Y | 2018-12-28 | 20:07 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 4.12 | 56.2 | ug/kg
LDW18-PWPS-A10 | AXYS MLA-021 Rev 12 | 205-99-2 | Benzo[b]fluoranthene | 1010 | ug/kg |  | Y | 2018-12-28 | 20:07 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.71 | 56.6 | ug/kg
LDW18-PWPS-A10 | AXYS MLA-021 Rev 12 | 205823/207089 | Benzo[j,k]fluoranthenes | 791 | ug/kg |  | Y | 2018-12-28 | 20:07 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.04 | 56.6 | ug/kg
LDW18-PWPS-A10 | AXYS MLA-021 Rev 12 | 218-01-9 | Chrysene | 1890 | ug/kg |  | Y | 2018-12-28 | 20:07 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.97 | 56.4 | ug/kg
LDW18-PWPS-A10 | AXYS MLA-021 Rev 12 | 53-70-3 | Dibenz[a,h]anthracene | 53.7 | ug/kg | J | Y | 2018-12-28 | 20:07 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.6 | 55.4 | ug/kg
LDW18-PWPS-A10 | AXYS MLA-021 Rev 12 | 206-44-0_D10 | Fluoranthene d-10 | 503 | ug/kg |  | Y | 2018-12-28 | 20:07 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.01 |  | ug/kg
LDW18-PWPS-A10 | AXYS MLA-021 Rev 12 | 193-39-5 | Indeno[1,2,3-cd]pyrene | 182 | ug/kg |  | Y | 2018-12-28 | 20:07 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.72 | 56.5 | ug/kg
LDW18-PWPS-A11 | AXYS MLA-021 Rev 12 | 13C6-218-01-9 | 13C6-Chrysene | 1680 | ug/kg |  | Y | 2018-12-29 | 0:31 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.13 |  | ug/kg
LDW18-PWPS-A11 | AXYS MLA-021 Rev 12 | 362044-56-2 | 13C6-Indeno(123cd)pyrene | 5350 | ug/kg |  | Y | 2018-12-29 | 0:31 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.47 |  | ug/kg
LDW18-PWPS-A11 | AXYS MLA-021 Rev 12 | 1189955-53-0 | 13C6-Phenanthrene | 191 | ug/kg |  | Y | 2018-12-29 | 0:31 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.26 |  | ug/kg
LDW18-PWPS-A11 | AXYS MLA-021 Rev 12 | 56-55-3 | Benz[a]anthracene | 243 | ug/kg |  | Y | 2018-12-29 | 0:31 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.44 | 51.9 | ug/kg
LDW18-PWPS-A11 | AXYS MLA-021 Rev 12 | 50-32-8 | Benzo[a]pyrene | 153 | ug/kg |  | Y | 2018-12-29 | 0:31 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3 | 51.5 | ug/kg
LDW18-PWPS-A11 | AXYS MLA-021 Rev 12 | 205-99-2 | Benzo[b]fluoranthene | 305 | ug/kg |  | Y | 2018-12-29 | 0:31 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.02 | 51.9 | ug/kg
LDW18-PWPS-A11 | AXYS MLA-021 Rev 12 | 205823/207089 | Benzo[j,k]fluoranthenes | 242 | ug/kg |  | Y | 2018-12-29 | 0:31 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.21 | 51.9 | ug/kg
LDW18-PWPS-A11 | AXYS MLA-021 Rev 12 | 218-01-9 | Chrysene | 328 | ug/kg |  | Y | 2018-12-29 | 0:31 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.54 | 51.8 | ug/kg
LDW18-PWPS-A11 | AXYS MLA-021 Rev 12 | 53-70-3 | Dibenz[a,h]anthracene | 21.9 | ug/kg | J | Y | 2018-12-29 | 0:31 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.77 | 50.9 | ug/kg
LDW18-PWPS-A11 | AXYS MLA-021 Rev 12 | 206-44-0_D10 | Fluoranthene d-10 | 288 | ug/kg |  | Y | 2018-12-29 | 0:31 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.87 |  | ug/kg
LDW18-PWPS-A11 | AXYS MLA-021 Rev 12 | 193-39-5 | Indeno[1,2,3-cd]pyrene | 77.2 | ug/kg |  | Y | 2018-12-29 | 0:31 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.19 | 51.9 | ug/kg
LDW18-PWPS-A17 | AXYS MLA-021 Rev 12 | 13C6-218-01-9 | 13C6-Chrysene | 1430 | ug/kg |  | Y | 2018-12-29 | 5:24 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 4.05 |  | ug/kg
LDW18-PWPS-A17 | AXYS MLA-021 Rev 12 | 362044-56-2 | 13C6-Indeno(123cd)pyrene | 5280 | ug/kg |  | Y | 2018-12-29 | 5:24 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 4.13 |  | ug/kg
LDW18-PWPS-A17 | AXYS MLA-021 Rev 12 | 1189955-53-0 | 13C6-Phenanthrene | 190 | ug/kg |  | Y | 2018-12-29 | 5:24 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 6.43 |  | ug/kg
LDW18-PWPS-A17 | AXYS MLA-021 Rev 12 | 56-55-3 | Benz[a]anthracene | 376 | ug/kg |  | Y | 2018-12-29 | 5:24 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.8 | 46.2 | ug/kg
LDW18-PWPS-A17 | AXYS MLA-021 Rev 12 | 50-32-8 | Benzo[a]pyrene | 329 | ug/kg |  | Y | 2018-12-29 | 5:24 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.02 | 45.9 | ug/kg
LDW18-PWPS-A17 | AXYS MLA-021 Rev 12 | 205-99-2 | Benzo[b]fluoranthene | 599 | ug/kg |  | Y | 2018-12-29 | 5:24 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2 | 46.2 | ug/kg
LDW18-PWPS-A17 | AXYS MLA-021 Rev 12 | 205823/207089 | Benzo[j,k]fluoranthenes | 452 | ug/kg |  | Y | 2018-12-29 | 5:24 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.24 | 46.2 | ug/kg
LDW18-PWPS-A17 | AXYS MLA-021 Rev 12 | 218-01-9 | Chrysene | 562 | ug/kg |  | Y | 2018-12-29 | 5:24 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.93 | 46.1 | ug/kg
LDW18-PWPS-A17 | AXYS MLA-021 Rev 12 | 53-70-3 | Dibenz[a,h]anthracene | 34 | ug/kg | J | Y | 2018-12-29 | 5:24 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 7.06 | 45.3 | ug/kg
LDW18-PWPS-A17 | AXYS MLA-021 Rev 12 | 206-44-0_D10 | Fluoranthene d-10 | 212 | ug/kg |  | Y | 2018-12-29 | 5:24 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 4.88 |  | ug/kg
LDW18-PWPS-A17 | AXYS MLA-021 Rev 12 | 193-39-5 | Indeno[1,2,3-cd]pyrene | 145 | ug/kg |  | Y | 2018-12-29 | 5:24 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.39 | 46.1 | ug/kg
LDW18-PWPS-A18 | AXYS MLA-021 Rev 12 | 13C6-218-01-9 | 13C6-Chrysene | 1310 | ug/kg |  | Y | 2018-12-29 | 2:09 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.42 |  | ug/kg
LDW18-PWPS-A18 | AXYS MLA-021 Rev 12 | 362044-56-2 | 13C6-Indeno(123cd)pyrene | 5410 | ug/kg |  | Y | 2018-12-29 | 2:09 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.74 |  | ug/kg
LDW18-PWPS-A18 | AXYS MLA-021 Rev 12 | 1189955-53-0 | 13C6-Phenanthrene | 204 | ug/kg |  | Y | 2018-12-29 | 2:09 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.16 |  | ug/kg
LDW18-PWPS-A18 | AXYS MLA-021 Rev 12 | 56-55-3 | Benz[a]anthracene | 294 | ug/kg |  | Y | 2018-12-29 | 2:09 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.26 | 50.8 | ug/kg
LDW18-PWPS-A18 | AXYS MLA-021 Rev 12 | 50-32-8 | Benzo[a]pyrene | 465 | ug/kg |  | Y | 2018-12-29 | 2:09 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 4.26 | 50.5 | ug/kg
LDW18-PWPS-A18 | AXYS MLA-021 Rev 12 | 205-99-2 | Benzo[b]fluoranthene | 797 | ug/kg |  | Y | 2018-12-29 | 2:09 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.91 | 50.9 | ug/kg
LDW18-PWPS-A18 | AXYS MLA-021 Rev 12 | 205823/207089 | Benzo[j,k]fluoranthenes | 670 | ug/kg |  | Y | 2018-12-29 | 2:09 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.22 | 50.9 | ug/kg
LDW18-PWPS-A18 | AXYS MLA-021 Rev 12 | 218-01-9 | Chrysene | 641 | ug/kg |  | Y | 2018-12-29 | 2:09 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.4 | 50.7 | ug/kg
LDW18-PWPS-A18 | AXYS MLA-021 Rev 12 | 53-70-3 | Dibenz[a,h]anthracene | 44.1 | ug/kg | J | Y | 2018-12-29 | 2:09 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 5.26 | 49.8 | ug/kg
LDW18-PWPS-A18 | AXYS MLA-021 Rev 12 | 206-44-0_D10 | Fluoranthene d-10 | 215 | ug/kg |  | Y | 2018-12-29 | 2:09 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 5.2 |  | ug/kg
LDW18-PWPS-A18 | AXYS MLA-021 Rev 12 | 193-39-5 | Indeno[1,2,3-cd]pyrene | 216 | ug/kg |  | Y | 2018-12-29 | 2:09 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.71 | 50.8 | ug/kg
PAH Day Zero #1 | AXYS MLA-021 Rev 12 | 13C6-218-01-9 | 13C6-Chrysene | 5220 | ug/kg |  | Y | 2018-12-28 | 16:03 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.05 |  | ug/kg
PAH Day Zero #1 | AXYS MLA-021 Rev 12 | 362044-56-2 | 13C6-Indeno(123cd)pyrene | 6510 | ug/kg |  | Y | 2018-12-28 | 16:03 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.93 |  | ug/kg
PAH Day Zero #1 | AXYS MLA-021 Rev 12 | 1189955-53-0 | 13C6-Phenanthrene | 9540 | ug/kg |  | Y | 2018-12-28 | 16:03 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.582 |  | ug/kg
PAH Day Zero #1 | AXYS MLA-021 Rev 12 | 56-55-3 | Benz[a]anthracene | 0.503 | ug/kg | U | N | 2018-12-28 | 16:03 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.503 | 68 | ug/kg
PAH Day Zero #1 | AXYS MLA-021 Rev 12 | 50-32-8 | Benzo[a]pyrene | 1.94 | ug/kg | U | N | 2018-12-28 | 16:03 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.94 | 67.6 | ug/kg
PAH Day Zero #1 | AXYS MLA-021 Rev 12 | 205-99-2 | Benzo[b]fluoranthene | 1.3 | ug/kg | U | N | 2018-12-28 | 16:03 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.3 | 68 | ug/kg
PAH Day Zero #1 | AXYS MLA-021 Rev 12 | 205823/207089 | Benzo[j,k]fluoranthenes | 1.46 | ug/kg | U | N | 2018-12-28 | 16:03 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.46 | 68.1 | ug/kg
PAH Day Zero #1 | AXYS MLA-021 Rev 12 | 218-01-9 | Chrysene | 3.64 | ug/kg | U | N | 2018-12-28 | 16:03 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.514 | 67.9 | ug/kg
PAH Day Zero #1 | AXYS MLA-021 Rev 12 | 53-70-3 | Dibenz[a,h]anthracene | 1.71 | ug/kg | U | N | 2018-12-28 | 16:03 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.71 | 66.7 | ug/kg
PAH Day Zero #1 | AXYS MLA-021 Rev 12 | 206-44-0_D10 | Fluoranthene d-10 | 3890 | ug/kg |  | Y | 2018-12-28 | 16:03 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.377 |  | ug/kg
PAH Day Zero #1 | AXYS MLA-021 Rev 12 | 193-39-5 | Indeno[1,2,3-cd]pyrene | 0.822 | ug/kg | U | N | 2018-12-28 | 16:03 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.822 | 68 | ug/kg
PAH Day Zero #2 | AXYS MLA-021 Rev 12 | 13C6-218-01-9 | 13C6-Chrysene | 4800 | ug/kg |  | Y | 2018-12-28 | 16:52 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.45 |  | ug/kg
PAH Day Zero #2 | AXYS MLA-021 Rev 12 | 362044-56-2 | 13C6-Indeno(123cd)pyrene | 6140 | ug/kg |  | Y | 2018-12-28 | 16:52 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.36 |  | ug/kg
PAH Day Zero #2 | AXYS MLA-021 Rev 12 | 1189955-53-0 | 13C6-Phenanthrene | 9260 | ug/kg |  | Y | 2018-12-28 | 16:52 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.785 |  | ug/kg
PAH Day Zero #2 | AXYS MLA-021 Rev 12 | 56-55-3 | Benz[a]anthracene | 0.295 | ug/kg | U | N | 2018-12-28 | 16:52 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.295 | 45.3 | ug/kg
PAH Day Zero #2 | AXYS MLA-021 Rev 12 | 50-32-8 | Benzo[a]pyrene | 0.857 | ug/kg | U | N | 2018-12-28 | 16:52 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.857 | 45 | ug/kg
PAH Day Zero #2 | AXYS MLA-021 Rev 12 | 205-99-2 | Benzo[b]fluoranthene | 0.558 | ug/kg | U | N | 2018-12-28 | 16:52 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.558 | 45.4 | ug/kg
PAH Day Zero #2 | AXYS MLA-021 Rev 12 | 205823/207089 | Benzo[j,k]fluoranthenes | 0.619 | ug/kg | U | N | 2018-12-28 | 16:52 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.619 | 45.4 | ug/kg
PAH Day Zero #2 | AXYS MLA-021 Rev 12 | 218-01-9 | Chrysene | 2.36 | ug/kg | U | N | 2018-12-28 | 16:52 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.305 | 45.3 | ug/kg
PAH Day Zero #2 | AXYS MLA-021 Rev 12 | 53-70-3 | Dibenz[a,h]anthracene | 1.41 | ug/kg | U | N | 2018-12-28 | 16:52 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.41 | 44.4 | ug/kg
PAH Day Zero #2 | AXYS MLA-021 Rev 12 | 206-44-0_D10 | Fluoranthene d-10 | 4490 | ug/kg |  | Y | 2018-12-28 | 16:52 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.221 |  | ug/kg
PAH Day Zero #2 | AXYS MLA-021 Rev 12 | 193-39-5 | Indeno[1,2,3-cd]pyrene | 0.745 | ug/kg | U | N | 2018-12-28 | 16:52 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.745 | 45.3 | ug/kg
PAH Day Zero #3 | AXYS MLA-021 Rev 12 | 13C6-218-01-9 | 13C6-Chrysene | 7350 | ug/kg |  | Y | 2018-12-28 | 17:41 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.338 |  | ug/kg
PAH Day Zero #3 | AXYS MLA-021 Rev 12 | 362044-56-2 | 13C6-Indeno(123cd)pyrene | 8570 | ug/kg |  | Y | 2018-12-28 | 17:41 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.95 |  | ug/kg
PAH Day Zero #3 | AXYS MLA-021 Rev 12 | 1189955-53-0 | 13C6-Phenanthrene | 10300 | ug/kg |  | Y | 2018-12-28 | 17:41 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 33.1 |  | ug/kg
PAH Day Zero #3 | AXYS MLA-021 Rev 12 | 56-55-3 | Benz[a]anthracene | 0.31 | ug/kg | U | N | 2018-12-28 | 17:41 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.31 | 49.3 | ug/kg
PAH Day Zero #3 | AXYS MLA-021 Rev 12 | 50-32-8 | Benzo[a]pyrene | 1.17 | ug/kg | U | N | 2018-12-28 | 17:41 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.17 | 49 | ug/kg
PAH Day Zero #3 | AXYS MLA-021 Rev 12 | 205-99-2 | Benzo[b]fluoranthene | 0.704 | ug/kg | U | N | 2018-12-28 | 17:41 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.704 | 49.4 | ug/kg
PAH Day Zero #3 | AXYS MLA-021 Rev 12 | 205823/207089 | Benzo[j,k]fluoranthenes | 0.808 | ug/kg | U | N | 2018-12-28 | 17:41 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.808 | 49.4 | ug/kg
PAH Day Zero #3 | AXYS MLA-021 Rev 12 | 218-01-9 | Chrysene | 3.18 | ug/kg | U | N | 2018-12-28 | 17:41 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.323 | 49.2 | ug/kg
PAH Day Zero #3 | AXYS MLA-021 Rev 12 | 53-70-3 | Dibenz[a,h]anthracene | 1.82 | ug/kg | U | N | 2018-12-28 | 17:41 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.82 | 48.4 | ug/kg
PAH Day Zero #3 | AXYS MLA-021 Rev 12 | 206-44-0_D10 | Fluoranthene d-10 | 5060 | ug/kg |  | Y | 2018-12-28 | 17:41 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.155 |  | ug/kg
PAH Day Zero #3 | AXYS MLA-021 Rev 12 | 193-39-5 | Indeno[1,2,3-cd]pyrene | 0.778 | ug/kg | U | N | 2018-12-28 | 17:41 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.778 | 49.3 | ug/kg

## PRC depletion
#sys_sample_code | chemical_name | result_value | result_unit |  | Mean | Standard Deviation
PAH Day Zero #1 | 13C6-Chrysene | 5220 | ug/kg | 13C6-Chrysene | 5790 | 1367.2235
PAH Day Zero #1 | 13C6-Indeno(123cd)pyrene | 6510 | ug/kg | 13C6-Indeno(123cd)pyrene | 7073.3333 | 1309.2873
PAH Day Zero #1 | 13C6-Phenanthrene | 9540 | ug/kg | 13C6-Phenanthrene | 9700 | 538.145
PAH Day Zero #1 | Fluoranthene d-10 | 3890 | ug/kg | Fluoranthene d-10 | 4480 | 585.0641
PAH Day Zero #2 | 13C6-Chrysene | 4800 | ug/kg
PAH Day Zero #2 | 13C6-Indeno(123cd)pyrene | 6140 | ug/kg
PAH Day Zero #2 | 13C6-Phenanthrene | 9260 | ug/kg
PAH Day Zero #2 | Fluoranthene d-10 | 4490 | ug/kg
PAH Day Zero #3 | 13C6-Chrysene | 7350 | ug/kg
PAH Day Zero #3 | 13C6-Indeno(123cd)pyrene | 8570 | ug/kg
PAH Day Zero #3 | 13C6-Phenanthrene | 10300 | ug/kg
PAH Day Zero #3 | Fluoranthene d-10 | 5060 | ug/kg |  |  |  | PRC depletion = [(average from Day 1,2,3) - Sample PRC Result]/(Average from Day 1,2,3)
Frac PRC loss = 1 - (Sample PRC Result/Average from Day 1,2,3)
#sys_sample_code | chemical_name | result_value | result_unit | Percent Depletion |  | Frac PRC Loss
LDW18-PWPS-A01 | 13C6-Chrysene | 1430 | ug/kg | 0.75302 |  | 0.75302 | Used First Order method using all PRC loss values in PRC Correc worksheet calculations. No PAH has a Kow ≤ 4.50 (Phenanthrene).
LDW18-PWPS-A01 | 13C6-Indeno(123cd)pyrene | 6140 | ug/kg | 0.13195 |  | 0.13195
LDW18-PWPS-A01 | 13C6-Phenanthrene | 334 | ug/kg | 0.96557 |  | 0.96557
LDW18-PWPS-A01 | Fluoranthene d-10 | 507 | ug/kg | 0.88683 |  | 0.88683
LDW18-PWPS-A02 | 13C6-Chrysene | 1550 | ug/kg | 0.7323 |  | 0.7323 | Used First Order method using all PRC loss values in PRC Correc worksheet calculations. No PAH has a Kow ≤ 4.50 (Phenanthrene).
LDW18-PWPS-A02 | 13C6-Indeno(123cd)pyrene | 6400 | ug/kg | 0.095193 |  | 0.095193
LDW18-PWPS-A02 | 13C6-Phenanthrene | 86.5 | ug/kg | 0.99108 |  | 0.99108
LDW18-PWPS-A02 | Fluoranthene d-10 | 169 | ug/kg | 0.96228 |  | 0.96228
LDW18-PWPS-A04 | 13C6-Chrysene | 3440 | ug/kg | 0.40587 |  | 0.40587 | Used First Order method using all PRC loss values in PRC Correc worksheet calculations, except excluded Indeno(123cd)pyrene PRC from calculations. No PAH has a Kow ≤ 4.50 (Phenanthrene). Excluded Indeno(123cd)pyrene PRC from calculations.
LDW18-PWPS-A04 | 13C6-Indeno(123cd)pyrene | 7210 | ug/kg | -0.019321 |  | -0.019321
LDW18-PWPS-A04 | 13C6-Phenanthrene | 664 | ug/kg | 0.93155 |  | 0.93155
LDW18-PWPS-A04 | Fluoranthene d-10 | 940 | ug/kg | 0.79018 |  | 0.79018
LDW18-PWPS-A06 | 13C6-Chrysene | 2400 | ug/kg | 0.58549 |  | 0.58549 | Used First Order method using all PRC loss values in PRC Correc worksheet calculations. No PAH has a Kow ≤ 4.50 (Phenanthrene).
LDW18-PWPS-A06 | 13C6-Indeno(123cd)pyrene | 5650 | ug/kg | 0.20123 |  | 0.20123
LDW18-PWPS-A06 | 13C6-Phenanthrene | 545 | ug/kg | 0.94381 |  | 0.94381
LDW18-PWPS-A06 | Fluoranthene d-10 | 794 | ug/kg | 0.82277 |  | 0.82277
LDW18-PWPS-A07 | 13C6-Chrysene | 3500 | ug/kg | 0.39551 |  | 0.39551 | Used First Order method using all PRC loss values in PRC Correc worksheet calculations. No PAH has a Kow ≤ 4.50 (Phenanthrene).
LDW18-PWPS-A07 | 13C6-Indeno(123cd)pyrene | 6730 | ug/kg | 0.048539 |  | 0.048539
LDW18-PWPS-A07 | 13C6-Phenanthrene | 749 | ug/kg | 0.92278 |  | 0.92278
LDW18-PWPS-A07 | Fluoranthene d-10 | 1060 | ug/kg | 0.76339 |  | 0.76339
LDW18-PWPS-A07Dup | 13C6-Chrysene | 2240 | ug/kg | 0.61313 |  | 0.61313 | Used First Order method using all PRC loss values in PRC Correc worksheet calculations. No PAH has a Kow ≤ 4.50 (Phenanthrene).
LDW18-PWPS-A07Dup | 13C6-Indeno(123cd)pyrene | 6710 | ug/kg | 0.051367 |  | 0.051367
LDW18-PWPS-A07Dup | 13C6-Phenanthrene | 528 | ug/kg | 0.94557 |  | 0.94557
LDW18-PWPS-A07Dup | Fluoranthene d-10 | 608 | ug/kg | 0.86429 |  | 0.86429
LDW18-PWPS-A08 | 13C6-Chrysene | 1880 | ug/kg | 0.6753 |  | 0.6753 | Used First Order method using all PRC loss values in PRC Correc worksheet calculations, except excluded Indeno(123cd)pyrene PRC from calculations. No PAH has a Kow ≤ 4.50 (Phenanthrene). Excluded Indeno(123cd)pyrene PRC from calculations.
LDW18-PWPS-A08 | 13C6-Indeno(123cd)pyrene | 7540 | ug/kg | -0.065975 |  | -0.065975
LDW18-PWPS-A08 | 13C6-Phenanthrene | 40.4 | ug/kg | 0.99584 |  | 0.99584
LDW18-PWPS-A08 | Fluoranthene d-10 | 119 | ug/kg | 0.97344 |  | 0.97344
LDW18-PWPS-A10 | 13C6-Chrysene | 2230 | ug/kg | 0.61485 |  | 0.61485 | Used First Order method using all PRC loss values in PRC Correc worksheet calculations, except excluded Indeno(123cd)pyrene PRC from calculations. No PAH has a Kow ≤ 4.50 (Phenanthrene). Excluded Indeno(123cd)pyrene PRC from calculations.
LDW18-PWPS-A10 | 13C6-Indeno(123cd)pyrene | 7280 | ug/kg | -0.029218 |  | -0.029218
LDW18-PWPS-A10 | 13C6-Phenanthrene | 653 | ug/kg | 0.93268 |  | 0.93268
LDW18-PWPS-A10 | Fluoranthene d-10 | 503 | ug/kg | 0.88772 |  | 0.88772
LDW18-PWPS-A11 | 13C6-Chrysene | 1680 | ug/kg | 0.70984 |  | 0.70984 | Used First Order method using all PRC loss values in PRC Correc worksheet calculations. No PAH has a Kow ≤ 4.50 (Phenanthrene).
LDW18-PWPS-A11 | 13C6-Indeno(123cd)pyrene | 5350 | ug/kg | 0.24364 |  | 0.24364
LDW18-PWPS-A11 | 13C6-Phenanthrene | 191 | ug/kg | 0.98031 |  | 0.98031
LDW18-PWPS-A11 | Fluoranthene d-10 | 288 | ug/kg | 0.93571 |  | 0.93571
LDW18-PWPS-A17 | 13C6-Chrysene | 1430 | ug/kg | 0.75302 |  | 0.75302 | Used First Order method using all PRC loss values in PRC Correc worksheet calculations. No PAH has a Kow ≤ 4.50 (Phenanthrene).
LDW18-PWPS-A17 | 13C6-Indeno(123cd)pyrene | 5280 | ug/kg | 0.25353 |  | 0.25353
LDW18-PWPS-A17 | 13C6-Phenanthrene | 190 | ug/kg | 0.98041 |  | 0.98041
LDW18-PWPS-A17 | Fluoranthene d-10 | 212 | ug/kg | 0.95268 |  | 0.95268
LDW18-PWPS-A18 | 13C6-Chrysene | 1310 | ug/kg | 0.77375 |  | 0.77375 | Used First Order method using all PRC loss values in PRC Correc worksheet calculations. No PAH has a Kow ≤ 4.50 (Phenanthrene).
LDW18-PWPS-A18 | 13C6-Indeno(123cd)pyrene | 5410 | ug/kg | 0.23516 |  | 0.23516
LDW18-PWPS-A18 | 13C6-Phenanthrene | 204 | ug/kg | 0.97897 |  | 0.97897
LDW18-PWPS-A18 | Fluoranthene d-10 | 215 | ug/kg | 0.95201 |  | 0.95201

## PRC correction_remove 3 indeno
LDW18-PWPS-A01 | log10 KOW | PRC Initial (pg/g) | PRC Final (pg/g) | PRC(Initial)/PRC(Final) | Deployment time (days) | ke (day-1) | log10 ke | Slope | Intercept | PAH | log10 kow | LDW18-PWPS-A01 |  | LDW18-PWPS-A02 |  | LDW18-PWPS-A04 |  | LDW18-PWPS-A06 |  | LDW18-PWPS-A07 |  | LDW18-PWPS-A07Dup |  | LDW18-PWPS-A08 |  | LDW18-PWPS-A10 |  | LDW18-PWPS-A11 |  | LDW18-PWPS-A17 |  | LDW18-PWPS-A18
13C6-Chrysene | 5.7 | 5790 | 1430 | 4.049 | 28 | 0.049945 | -1.3015 | -0.53448 | 1.5718 |  |  | ke (day-1) | Feq | ke (day-1) | Feq | ke (day-1) | Feq | ke (day-1) | Feq | ke (day-1) | Feq | ke (day-1) | Feq | ke (day-1) | Feq | ke (day-1) | Feq | ke (day-1) | Feq | ke (day-1) | Feq | ke (day-1) | Feq
13C6-Indeno(123cd)pyrene | 7.09 | 7073.3333 | 6140 | 1.152 | 28 | 0.0050538 | -2.2964
13C6-Phenanthrene | 4.5 | 9700 | 334 | 29.0419 | 28 | 0.12031 | -0.91969 |  |  | Benz[a]anthracene | 5.8 | 0.029633 | 0.56383 | 0.030146 | 0.57005 | 0.016846 | 0.37606 | 0.028459 | 0.54926 | 0.013864 | 0.32171 | 0.018297 | 0.40089 | 0.037601 | 0.65105 | 0.033158 | 0.60482 | 0.039149 | 0.66585 | 0.042001 | 0.6915 | 0.041238 | 0.68484
Fluoranthene d-10 | 5 | 4480 | 507 | 8.8363 | 28 | 0.077817 | -1.1089 |  |  | Benzo[a]pyrene | 6.1 | 0.020485 | 0.43649 | 0.019061 | 0.41357 | 0.011139 | 0.26794 | 0.021195 | 0.44759 | 0.0087265 | 0.21678 | 0.011377 | 0.2728 | 0.025136 | 0.50531 | 0.025413 | 0.50912 | 0.028645 | 0.5516 | 0.030789 | 0.57772 | 0.029988 | 0.56814
[10 empty] | Benzo[b]fluoranthene | 5.9 | 0.026202 | 0.51985 | 0.025874 | 0.51542 | 0.014676 | 0.33697 | 0.025796 | 0.51437 | 0.011881 | 0.283 | 0.015617 | 0.35421 | 0.032878 | 0.60171 | 0.030344 | 0.57243 | 0.035277 | 0.62759 | 0.037871 | 0.65368 | 0.037083 | 0.64596
[10 empty] | Benzo[j,k]fluoranthenes | 5.9 | 0.026202 | 0.51985 | 0.025874 | 0.51542 | 0.014676 | 0.33697 | 0.025796 | 0.51437 | 0.011881 | 0.283 | 0.015617 | 0.35421 | 0.032878 | 0.60171 | 0.030344 | 0.57243 | 0.035277 | 0.62759 | 0.037871 | 0.65368 | 0.037083 | 0.64596
[10 empty] | Chrysene | 5.7 | 0.033514 | 0.60874 | 0.035123 | 0.62598 | 0.019337 | 0.41809 | 0.031397 | 0.58485 | 0.016177 | 0.36425 | 0.021437 | 0.45132 | 0.043003 | 0.70004 | 0.036233 | 0.63742 | 0.043445 | 0.70372 | 0.046582 | 0.72863 | 0.045858 | 0.72308
LDW18-PWPS-A02 | log10 KOW | Initial (ng/g) | PRC Final (ng/g) | PRC(Initial)/PRC(Final) | Deployment time (days) | ke (day-1) | log10 ke | Slope | Intercept | Dibenz[a,h]anthracene | 7.39 | 0.0041875 | 0.11064 | 0.0026548 | 0.071639 | 0.0018807 | 0.051296 | 0.0059688 | 0.15391 | 0.0011923 | 0.032834 | 0.0014748 | 0.040453 | 0.0044488 | 0.11712 | 0.0080956 | 0.20282 | 0.007476 | 0.18887 | 0.0081 | 0.20292 | 0.0076209 | 0.19216
13C6-Chrysene | 5.7 | 5790 | 1550 | 3.7355 | 28 | 0.047067 | -1.3273 | -0.66365 | 2.3284 | Indeno[1,2,3-cd]pyrene | 7.09 | 0.0060575 | 0.15601 | 0.0041988 | 0.11092 | 0.0028443 | 0.076551 | 0.0080145 | 0.20101 | 0.0018942 | 0.051656 | 0.0023718 | 0.064253 | 0.0066549 | 0.17001 | 0.010563 | 0.25604 | 0.010217 | 0.2488 | 0.01105 | 0.26611 | 0.01048 | 0.25431
13C6-Indeno(123cd)pyrene | 7.09 | 7073.3333 | 6400 | 1.1052 | 28 | 0.0035726 | -2.447
13C6-Phenanthrene | 4.5 | 9700 | 86.5 | 112.1387 | 28 | 0.16856 | -0.77324
Fluoranthene d-10 | 5 | 4480 | 169 | 26.5089 | 28 | 0.11705 | -0.93162
LDW18-PWPS-A04 | log10 KOW | Initial (ng/g) | PRC Final (ng/g) | PRC(Initial)/PRC(Final) | Deployment time (days) | ke (day-1) | log10 ke | Slope | Intercept
13C6-Chrysene | 5.7 | 5790 | 3440 | 1.6831 | 28 | 0.018595 | -1.7306 | -0.59886 | 1.6999
13C6-Phenanthrene | 4.5 | 9700 | 664 | 14.6084 | 28 | 0.095771 | -1.0188
Fluoranthene d-10 | 5 | 4480 | 940 | 4.766 | 28 | 0.055768 | -1.2536
LDW18-PWPS-A06 | log10 KOW | Initial (ng/g) | PRC Final (ng/g) | PRC(Initial)/PRC(Final) | Deployment time (days) | ke (day-1) | log10 ke | Slope | Intercept
13C6-Chrysene | 5.7 | 5790 | 2400 | 2.4125 | 28 | 0.031452 | -1.5023 | -0.42662 | 0.92864
13C6-Indeno(123cd)pyrene | 7.09 | 7073.3333 | 5650 | 1.2519 | 28 | 0.0080242 | -2.0956
13C6-Phenanthrene | 4.5 | 9700 | 545 | 17.7982 | 28 | 0.10282 | -0.9879
Fluoranthene d-10 | 5 | 4480 | 794 | 5.6423 | 28 | 0.061796 | -1.209
LDW18-PWPS-A07 | log10 KOW | Initial (ng/g) | PRC Final (ng/g) | PRC(Initial)/PRC(Final) | Deployment time (days) | ke (day-1) | log10 ke | Slope | Intercept
13C6-Chrysene | 5.7 | 5790 | 3500 | 1.6543 | 28 | 0.017977 | -1.7453 | -0.67012 | 2.0285
13C6-Indeno(123cd)pyrene | 7.09 | 7073.3333 | 6730 | 1.051 | 28 | 0.001777 | -2.7503
13C6-Phenanthrene | 4.5 | 9700 | 749 | 12.9506 | 28 | 0.091469 | -1.0387
Fluoranthene d-10 | 5 | 4480 | 1060 | 4.2264 | 28 | 0.051477 | -1.2884
LDW18-PWPS-A07Dup | log10 KOW | Initial (ng/g) | PRC Final (ng/g) | PRC(Initial)/PRC(Final) | Deployment time (days) | ke (day-1) | log10 ke | Slope | Intercept
13C6-Chrysene | 5.7 | 5790 | 2240 | 2.5848 | 28 | 0.033916 | -1.4696 | -0.68783 | 2.2518
13C6-Indeno(123cd)pyrene | 7.09 | 7073.3333 | 6710 | 1.0541 | 28 | 0.0018833 | -2.7251
13C6-Phenanthrene | 4.5 | 9700 | 528 | 18.3712 | 28 | 0.10396 | -0.98315
Fluoranthene d-10 | 5 | 4480 | 608 | 7.3684 | 28 | 0.071329 | -1.1467
LDW18-PWPS-A08 | log10 KOW | Initial (ng/g) | PRC Final (ng/g) | PRC(Initial)/PRC(Final) | Deployment time (days) | ke (day-1) | log10 ke | Slope | Intercept
13C6-Chrysene | 5.7 | 5790 | 1880 | 3.0798 | 28 | 0.040174 | -1.3961 | -0.58299 | 1.9566
13C6-Phenanthrene | 4.5 | 9700 | 40.4 | 240.099 | 28 | 0.19575 | -0.70829
Fluoranthene d-10 | 5 | 4480 | 119 | 37.6471 | 28 | 0.12958 | -0.88746
LDW18-PWPS-A10 | log10 KOW | Initial (ng/g) | PRC Final (ng/g) | PRC(Initial)/PRC(Final) | Deployment time (days) | ke (day-1) | log10 ke | Slope | Intercept
13C6-Chrysene | 5.7 | 5790 | 2230 | 2.5964 | 28 | 0.034076 | -1.4676 | -0.38512 | 0.75428
13C6-Phenanthrene | 4.5 | 9700 | 653 | 14.8545 | 28 | 0.096368 | -1.0161
Fluoranthene d-10 | 5 | 4480 | 503 | 8.9066 | 28 | 0.0781 | -1.1074
LDW18-PWPS-A11 | log10 KOW | Initial (ng/g) | PRC Final (ng/g) | PRC(Initial)/PRC(Final) | Deployment time (days) | ke (day-1) | log10 ke | Slope | Intercept
13C6-Chrysene | 5.7 | 5790 | 1680 | 3.4464 | 28 | 0.044191 | -1.3547 | -0.45223 | 1.2157
13C6-Indeno(123cd)pyrene | 7.09 | 7073.3333 | 5350 | 1.3221 | 28 | 0.0099727 | -2.0012
13C6-Phenanthrene | 4.5 | 9700 | 191 | 50.7853 | 28 | 0.14027 | -0.85303
Fluoranthene d-10 | 5 | 4480 | 288 | 15.5556 | 28 | 0.098015 | -1.0087
LDW18-PWPS-A17 | log10 KOW | Initial (ng/g) | PRC Final (ng/g) | PRC(Initial)/PRC(Final) | Deployment time (days) | ke (day-1) | log10 ke | Slope | Intercept
13C6-Chrysene | 5.7 | 5790 | 1430 | 4.049 | 28 | 0.049945 | -1.3015 | -0.44954 | 1.2306
13C6-Indeno(123cd)pyrene | 7.09 | 7073.3333 | 5280 | 1.3396 | 28 | 0.010443 | -1.9812
13C6-Phenanthrene | 4.5 | 9700 | 190 | 51.0526 | 28 | 0.14046 | -0.85245
Fluoranthene d-10 | 5 | 4480 | 212 | 21.1321 | 28 | 0.10896 | -0.96275
LDW18-PWPS-A18 | log10 KOW | Initial (ng/g) | PRC Final (ng/g) | PRC(Initial)/PRC(Final) | Deployment time (days) | ke (day-1) | log10 ke | Slope | Intercept
13C6-Chrysene | 5.7 | 5790 | 1310 | 4.4198 | 28 | 0.053075 | -1.2751 | -0.46119 | 1.2902
13C6-Indeno(123cd)pyrene | 7.09 | 7073.3333 | 5410 | 1.3075 | 28 | 0.0095744 | -2.0189
13C6-Phenanthrene | 4.5 | 9700 | 204 | 47.549 | 28 | 0.13792 | -0.86037
Fluoranthene d-10 | 5 | 4480 | 215 | 20.8372 | 28 | 0.10846 | -0.96475

## Feq
Fractional Equilibrium calculated using PRC calculator for Passive Sampling in Sediments
PAH | LDW18-PWPS-A01 | LDW18-PWPS-A02 | LDW18-PWPS-A04 | LDW18-PWPS-A06 | LDW18-PWPS-A07 | LDW18-PWPS-A07Dup | LDW18-PWPS-A08 | LDW18-PWPS-A10 | LDW18-PWPS-A11 | LDW18-PWPS-A17 | LDW18-PWPS-A18 | Notes
Benz[a]anthracene | 0.56383 | 0.57005 | 0.37606 | 0.54926 | 0.32171 | 0.40089 | 0.65105 | 0.60482 | 0.66585 | 0.6915 | 0.68484 | First Order Method (For samples A04, A08, A10 negative PRC depletions (indenopyrene) not included in calculations
Benzo[a]pyrene | 0.43649 | 0.41357 | 0.26794 | 0.44759 | 0.21678 | 0.2728 | 0.50531 | 0.50912 | 0.5516 | 0.57772 | 0.56814
Benzo[b]fluoranthene | 0.51985 | 0.51542 | 0.33697 | 0.51437 | 0.283 | 0.35421 | 0.60171 | 0.57243 | 0.62759 | 0.65368 | 0.64596
Benzo[j,k]fluoranthenes | 0.51985 | 0.51542 | 0.33697 | 0.51437 | 0.283 | 0.35421 | 0.60171 | 0.57243 | 0.62759 | 0.65368 | 0.64596
Chrysene | 0.60874 | 0.62598 | 0.41809 | 0.58485 | 0.36425 | 0.45132 | 0.70004 | 0.63742 | 0.70372 | 0.72863 | 0.72308
Dibenz[a,h]anthracene | 0.11064 | 0.071639 | 0.051296 | 0.15391 | 0.032834 | 0.040453 | 0.11712 | 0.20282 | 0.18887 | 0.20292 | 0.19216
Indeno[1,2,3-cd]pyrene | 0.15601 | 0.11092 | 0.076551 | 0.20101 | 0.051656 | 0.064253 | 0.17001 | 0.25604 | 0.2488 | 0.26611 | 0.25431

## Cfree
LDW AOC3 PW cPAH Passive Sampler Event 2
#sys_sample_code | cas_rn | chemical_name | result_value | result_unit | lab_qualifiers | DETECT_FLAG | analysis_date | analysis_time | total_or_dissolved | COLUMN_NUMBER | test_type | result_error_delta | result_type_code | REPORTABLE_RESULT | ORGANIC_YN | method_detection_limit | reporting_detection_limit | quantitation_limit | detection_limit_unit | tic_retention_time | result_comment | qc_original_conc | qc_spike_added | qc_spike_measured | qc_spike_recovery | qc_dup_original_conc | qc_dup_spike_added | qc_dup_spike_measured | qc_dup_spike_recovery | qc_rpd | qc_spike_lcl | qc_spike_ucl | qc_rpd_cl | qc_spike_status | qc_dup_spike_status | qc_rpd_status | validated_value | validator_qualifiers | validation_change_reason | validation_level | validator_notes | log KPEW (LW/kgPE) | Feq | Cfree | Units
LDW18-PWPS-A01 | 56-55-3 | Benz[a]anthracene | 923 | ug/kg |  | Y | 2018-12-29 | 2:58 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.17 | 49.3 | ug/kg | [22 empty] | 5.56 | 0.56383 | 4.5087 | µg/L
LDW18-PWPS-A01 | 50-32-8 | Benzo[a]pyrene | 621 | ug/kg |  | Y | 2018-12-29 | 2:58 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 10.2 | 49 | ug/kg | [22 empty] | 6.16 | 0.43649 | 0.98427 | µg/L
LDW18-PWPS-A01 | 205-99-2 | Benzo[b]fluoranthene | 830 | ug/kg |  | Y | 2018-12-29 | 2:58 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 5.79 | 49.4 | ug/kg | [22 empty] | 6.16 | 0.51985 | 1.1046 | µg/L
LDW18-PWPS-A01 | 205823/207089 | Benzo[j,k]fluoranthenes | 772 | ug/kg |  | Y | 2018-12-29 | 2:58 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 6.81 | 49.4 | ug/kg | [22 empty] | 6.16 | 0.51985 | 1.0274 | µg/L
LDW18-PWPS-A01 | 218-01-9 | Chrysene | 1310 | ug/kg |  | Y | 2018-12-29 | 2:58 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.45 | 49.2 | ug/kg | [22 empty] | 5.56 | 0.60874 | 5.927 | µg/L
LDW18-PWPS-A01 | 53-70-3 | Dibenz[a,h]anthracene | 44.2 | ug/kg | J | Y | 2018-12-29 | 2:58 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 7.56 | 48.4 | ug/kg | [22 empty] | 7.28 | 0.11064 | 0.020966 | µg/L
LDW18-PWPS-A01 | 193-39-5 | Indeno[1,2,3-cd]pyrene | 238 | ug/kg |  | Y | 2018-12-29 | 2:58 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 10.2 | 49.3 | ug/kg | [22 empty] | 7.36 | 0.15601 | 0.066594 | µg/L
LDW18-PWPS-A02 | 56-55-3 | Benz[a]anthracene | 10.8 | ug/kg | J | Y | 2018-12-28 | 19:18 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.7 | 43.8 | ug/kg | [22 empty] | 5.56 | 0.57005 | 0.052181 | µg/L
LDW18-PWPS-A02 | 50-32-8 | Benzo[a]pyrene | 6.29 | ug/kg | J | Y | 2018-12-28 | 19:18 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.01 | 43.5 | ug/kg | [22 empty] | 6.16 | 0.41357 | 0.010522 | µg/L
LDW18-PWPS-A02 | 205-99-2 | Benzo[b]fluoranthene | 13.7 | ug/kg | J | Y | 2018-12-28 | 19:18 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.631 | 43.8 | ug/kg | [22 empty] | 6.16 | 0.51542 | 0.018389 | µg/L
LDW18-PWPS-A02 | 205823/207089 | Benzo[j,k]fluoranthenes | 9.66 | ug/kg | J | Y | 2018-12-28 | 19:18 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.737 | 43.8 | ug/kg | [22 empty] | 6.16 | 0.51542 | 0.012966 | µg/L
LDW18-PWPS-A02 | 218-01-9 | Chrysene | 18.9 | ug/kg | J | Y | 2018-12-28 | 19:18 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.709 | 43.7 | ug/kg | [22 empty] | 5.56 | 0.62598 | 0.083157 | µg/L
LDW18-PWPS-A02 | 53-70-3 | Dibenz[a,h]anthracene | 1.28 | ug/kg | U | N | 2018-12-28 | 19:18 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.28 | 42.9 | ug/kg | [22 empty] | 7.28 | 0.071639 | 0.00093769 | µg/L
LDW18-PWPS-A02 | 193-39-5 | Indeno[1,2,3-cd]pyrene | 0.953 | ug/kg | U | N | 2018-12-28 | 19:18 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.953 | 43.7 | ug/kg | [22 empty] | 7.36 | 0.11092 | 0.00037505 | µg/L
LDW18-PWPS-A04 | 56-55-3 | Benz[a]anthracene | 79.5 | ug/kg |  | Y | 2018-12-28 | 20:56 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.761 | 51.4 | ug/kg | [22 empty] | 5.56 | 0.37606 | 0.58225 | µg/L
LDW18-PWPS-A04 | 50-32-8 | Benzo[a]pyrene | 34.8 | ug/kg | J | Y | 2018-12-28 | 20:56 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.943 | 51 | ug/kg | [22 empty] | 6.16 | 0.26794 | 0.089855 | µg/L
LDW18-PWPS-A04 | 205-99-2 | Benzo[b]fluoranthene | 72.7 | ug/kg |  | Y | 2018-12-28 | 20:56 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.585 | 51.4 | ug/kg | [22 empty] | 6.16 | 0.33697 | 0.14926 | µg/L
LDW18-PWPS-A04 | 205823/207089 | Benzo[j,k]fluoranthenes | 59.5 | ug/kg |  | Y | 2018-12-28 | 20:56 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.656 | 51.4 | ug/kg | [22 empty] | 6.16 | 0.33697 | 0.12216 | µg/L
LDW18-PWPS-A04 | 218-01-9 | Chrysene | 127 | ug/kg |  | Y | 2018-12-28 | 20:56 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.808 | 51.3 | ug/kg | [22 empty] | 5.56 | 0.41809 | 0.83663 | µg/L
LDW18-PWPS-A04 | 53-70-3 | Dibenz[a,h]anthracene | 1.9 | ug/kg | U | N | 2018-12-28 | 20:56 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.9 | 50.3 | ug/kg | [22 empty] | 7.28 | 0.051296 | 0.0019439 | µg/L
LDW18-PWPS-A04 | 193-39-5 | Indeno[1,2,3-cd]pyrene | 9.94 | ug/kg | J | Y | 2018-12-28 | 20:56 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1 | 51.3 | ug/kg | [22 empty] | 7.36 | 0.076551 | 0.0056681 | µg/L
LDW18-PWPS-A06 | 56-55-3 | Benz[a]anthracene | 223 | ug/kg |  | Y | 2018-12-29 | 1:20 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.09 | 48.4 | ug/kg | [22 empty] | 5.56 | 0.54926 | 1.1182 | µg/L
LDW18-PWPS-A06 | 50-32-8 | Benzo[a]pyrene | 130 | ug/kg |  | Y | 2018-12-29 | 1:20 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.724 | 48.1 | ug/kg | [22 empty] | 6.16 | 0.44759 | 0.20094 | µg/L
LDW18-PWPS-A06 | 205-99-2 | Benzo[b]fluoranthene | 266 | ug/kg |  | Y | 2018-12-29 | 1:20 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.461 | 48.4 | ug/kg | [22 empty] | 6.16 | 0.51437 | 0.35778 | µg/L
LDW18-PWPS-A06 | 205823/207089 | Benzo[j,k]fluoranthenes | 220 | ug/kg |  | Y | 2018-12-29 | 1:20 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 0.539 | 48.4 | ug/kg | [22 empty] | 6.16 | 0.51437 | 0.2959 | µg/L
LDW18-PWPS-A06 | 218-01-9 | Chrysene | 343 | ug/kg |  | Y | 2018-12-29 | 1:20 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.18 | 48.3 | ug/kg | [22 empty] | 5.56 | 0.58485 | 1.6153 | µg/L
LDW18-PWPS-A06 | 53-70-3 | Dibenz[a,h]anthracene | 18.4 | ug/kg | J | Y | 2018-12-29 | 1:20 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.54 | 47.4 | ug/kg | [22 empty] | 7.28 | 0.15391 | 0.0062742 | µg/L
LDW18-PWPS-A06 | 193-39-5 | Indeno[1,2,3-cd]pyrene | 48 | ug/kg | J | Y | 2018-12-29 | 1:20 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.35 | 48.4 | ug/kg | [22 empty] | 7.36 | 0.20101 | 0.010424 | µg/L
LDW18-PWPS-A07 | 56-55-3 | Benz[a]anthracene | 431 | ug/kg |  | Y | 2018-12-29 | 3:47 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.91 | 53.5 | ug/kg | [22 empty] | 5.56 | 0.32171 | 3.6899 | µg/L
LDW18-PWPS-A07 | 50-32-8 | Benzo[a]pyrene | 273 | ug/kg |  | Y | 2018-12-29 | 3:47 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.28 | 53.2 | ug/kg | [22 empty] | 6.16 | 0.21678 | 0.87125 | µg/L
LDW18-PWPS-A07 | 205-99-2 | Benzo[b]fluoranthene | 424 | ug/kg |  | Y | 2018-12-29 | 3:47 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.04 | 53.6 | ug/kg | [22 empty] | 6.16 | 0.283 | 1.0365 | µg/L
LDW18-PWPS-A07 | 205823/207089 | Benzo[j,k]fluoranthenes | 352 | ug/kg |  | Y | 2018-12-29 | 3:47 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.32 | 53.6 | ug/kg | [22 empty] | 6.16 | 0.283 | 0.86052 | µg/L
LDW18-PWPS-A07 | 218-01-9 | Chrysene | 629 | ug/kg |  | Y | 2018-12-29 | 3:47 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.19 | 53.4 | ug/kg | [22 empty] | 5.56 | 0.36425 | 4.7561 | µg/L
LDW18-PWPS-A07 | 53-70-3 | Dibenz[a,h]anthracene | 24.1 | ug/kg | J | Y | 2018-12-29 | 3:47 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.62 | 52.5 | ug/kg | [22 empty] | 7.28 | 0.032834 | 0.038521 | µg/L
LDW18-PWPS-A07 | 193-39-5 | Indeno[1,2,3-cd]pyrene | 100 | ug/kg | J | Y | 2018-12-29 | 3:47 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.79 | 53.5 | ug/kg | [22 empty] | 7.36 | 0.051656 | 0.084505 | µg/L
LDW18-PWPS-A07Dup | 56-55-3 | Benz[a]anthracene | 575 | ug/kg |  | Y | 2018-12-29 | 4:36 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.07 | 51.9 | ug/kg | [22 empty] | 5.56 | 0.40089 | 3.9504 | µg/L
LDW18-PWPS-A07Dup | 50-32-8 | Benzo[a]pyrene | 464 | ug/kg |  | Y | 2018-12-29 | 4:36 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.7 | 51.5 | ug/kg | [22 empty] | 6.16 | 0.2728 | 1.1767 | µg/L
LDW18-PWPS-A07Dup | 205-99-2 | Benzo[b]fluoranthene | 680 | ug/kg |  | Y | 2018-12-29 | 4:36 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.35 | 51.9 | ug/kg | [22 empty] | 6.16 | 0.35421 | 1.3282 | µg/L
LDW18-PWPS-A07Dup | 205823/207089 | Benzo[j,k]fluoranthenes | 596 | ug/kg |  | Y | 2018-12-29 | 4:36 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.72 | 51.9 | ug/kg | [22 empty] | 6.16 | 0.35421 | 1.1641 | µg/L
LDW18-PWPS-A07Dup | 218-01-9 | Chrysene | 843 | ug/kg |  | Y | 2018-12-29 | 4:36 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.31 | 51.8 | ug/kg | [22 empty] | 5.56 | 0.45132 | 5.1445 | µg/L
LDW18-PWPS-A07Dup | 53-70-3 | Dibenz[a,h]anthracene | 34.9 | ug/kg | J | Y | 2018-12-29 | 4:36 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 6.33 | 50.9 | ug/kg | [22 empty] | 7.28 | 0.040453 | 0.045277 | µg/L
LDW18-PWPS-A07Dup | 193-39-5 | Indeno[1,2,3-cd]pyrene | 150 | ug/kg |  | Y | 2018-12-29 | 4:36 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.39 | 51.9 | ug/kg | [22 empty] | 7.36 | 0.064253 | 0.1019 | µg/L
LDW18-PWPS-A08 | 56-55-3 | Benz[a]anthracene | 141 | ug/kg | J | Y | 2018-12-29 | 6:13 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.63 | 54.1 | ug/kg | [22 empty] | 5.56 | 0.65105 | 0.59649 | µg/L
LDW18-PWPS-A08 | 50-32-8 | Benzo[a]pyrene | 188 | ug/kg |  | Y | 2018-12-29 | 6:13 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 4.19 | 53.8 | ug/kg | [22 empty] | 6.16 | 0.50531 | 0.2574 | µg/L
LDW18-PWPS-A08 | 205-99-2 | Benzo[b]fluoranthene | 222 | ug/kg |  | Y | 2018-12-29 | 6:13 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.9 | 54.1 | ug/kg | [22 empty] | 6.16 | 0.60171 | 0.25525 | µg/L
LDW18-PWPS-A08 | 205823/207089 | Benzo[j,k]fluoranthenes | 167 | ug/kg |  | Y | 2018-12-29 | 6:13 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.13 | 54.2 | ug/kg | [22 empty] | 6.16 | 0.60171 | 0.19201 | µg/L
LDW18-PWPS-A08 | 218-01-9 | Chrysene | 213 | ug/kg |  | Y | 2018-12-29 | 6:13 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.83 | 54 | ug/kg | [22 empty] | 5.56 | 0.70004 | 0.83803 | µg/L
LDW18-PWPS-A08 | 53-70-3 | Dibenz[a,h]anthracene | 14.5 | ug/kg | J | Y | 2018-12-29 | 6:13 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.08 | 53 | ug/kg | [22 empty] | 7.28 | 0.11712 | 0.0064973 | µg/L
LDW18-PWPS-A08 | 193-39-5 | Indeno[1,2,3-cd]pyrene | 75.4 | ug/kg | J | Y | 2018-12-29 | 6:13 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.04 | 54.1 | ug/kg | [22 empty] | 7.36 | 0.17001 | 0.01936 | µg/L
LDW18-PWPS-A10 | 56-55-3 | Benz[a]anthracene | 1480 | ug/kg |  | Y | 2018-12-28 | 20:07 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.8 | 56.6 | ug/kg | [22 empty] | 5.56 | 0.60482 | 6.7396 | µg/L
LDW18-PWPS-A10 | 50-32-8 | Benzo[a]pyrene | 588 | ug/kg |  | Y | 2018-12-28 | 20:07 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 4.12 | 56.2 | ug/kg | [22 empty] | 6.16 | 0.50912 | 0.79902 | µg/L
LDW18-PWPS-A10 | 205-99-2 | Benzo[b]fluoranthene | 1010 | ug/kg |  | Y | 2018-12-28 | 20:07 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.71 | 56.6 | ug/kg | [22 empty] | 6.16 | 0.57243 | 1.2207 | µg/L
LDW18-PWPS-A10 | 205823/207089 | Benzo[j,k]fluoranthenes | 791 | ug/kg |  | Y | 2018-12-28 | 20:07 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.04 | 56.6 | ug/kg | [22 empty] | 6.16 | 0.57243 | 0.95599 | µg/L
LDW18-PWPS-A10 | 218-01-9 | Chrysene | 1890 | ug/kg |  | Y | 2018-12-28 | 20:07 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.97 | 56.4 | ug/kg | [22 empty] | 5.56 | 0.63742 | 8.1665 | µg/L
LDW18-PWPS-A10 | 53-70-3 | Dibenz[a,h]anthracene | 53.7 | ug/kg | J | Y | 2018-12-28 | 20:07 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.6 | 55.4 | ug/kg | [22 empty] | 7.28 | 0.20282 | 0.013895 | µg/L
LDW18-PWPS-A10 | 193-39-5 | Indeno[1,2,3-cd]pyrene | 182 | ug/kg |  | Y | 2018-12-28 | 20:07 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.72 | 56.5 | ug/kg | [22 empty] | 7.36 | 0.25604 | 0.031029 | µg/L
LDW18-PWPS-A11 | 56-55-3 | Benz[a]anthracene | 243 | ug/kg |  | Y | 2018-12-29 | 0:31 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.44 | 51.9 | ug/kg | [22 empty] | 5.56 | 0.66585 | 1.0051 | µg/L
LDW18-PWPS-A11 | 50-32-8 | Benzo[a]pyrene | 153 | ug/kg |  | Y | 2018-12-29 | 0:31 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3 | 51.5 | ug/kg | [22 empty] | 6.16 | 0.5516 | 0.1919 | µg/L
LDW18-PWPS-A11 | 205-99-2 | Benzo[b]fluoranthene | 305 | ug/kg |  | Y | 2018-12-29 | 0:31 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.02 | 51.9 | ug/kg | [22 empty] | 6.16 | 0.62759 | 0.33622 | µg/L
LDW18-PWPS-A11 | 205823/207089 | Benzo[j,k]fluoranthenes | 242 | ug/kg |  | Y | 2018-12-29 | 0:31 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.21 | 51.9 | ug/kg | [22 empty] | 6.16 | 0.62759 | 0.26677 | µg/L
LDW18-PWPS-A11 | 218-01-9 | Chrysene | 328 | ug/kg |  | Y | 2018-12-29 | 0:31 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.54 | 51.8 | ug/kg | [22 empty] | 5.56 | 0.70372 | 1.2837 | µg/L
LDW18-PWPS-A11 | 53-70-3 | Dibenz[a,h]anthracene | 21.9 | ug/kg | J | Y | 2018-12-29 | 0:31 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.77 | 50.9 | ug/kg | [22 empty] | 7.28 | 0.18887 | 0.0060853 | µg/L
LDW18-PWPS-A11 | 193-39-5 | Indeno[1,2,3-cd]pyrene | 77.2 | ug/kg |  | Y | 2018-12-29 | 0:31 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 1.19 | 51.9 | ug/kg | [22 empty] | 7.36 | 0.2488 | 0.013545 | µg/L
LDW18-PWPS-A17 | 56-55-3 | Benz[a]anthracene | 376 | ug/kg |  | Y | 2018-12-29 | 5:24 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.8 | 46.2 | ug/kg | [22 empty] | 5.56 | 0.6915 | 1.4976 | µg/L
LDW18-PWPS-A17 | 50-32-8 | Benzo[a]pyrene | 329 | ug/kg |  | Y | 2018-12-29 | 5:24 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.02 | 45.9 | ug/kg | [22 empty] | 6.16 | 0.57772 | 0.39398 | µg/L
LDW18-PWPS-A17 | 205-99-2 | Benzo[b]fluoranthene | 599 | ug/kg |  | Y | 2018-12-29 | 5:24 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2 | 46.2 | ug/kg | [22 empty] | 6.16 | 0.65368 | 0.63396 | µg/L
LDW18-PWPS-A17 | 205823/207089 | Benzo[j,k]fluoranthenes | 452 | ug/kg |  | Y | 2018-12-29 | 5:24 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.24 | 46.2 | ug/kg | [22 empty] | 6.16 | 0.65368 | 0.47838 | µg/L
LDW18-PWPS-A17 | 218-01-9 | Chrysene | 562 | ug/kg |  | Y | 2018-12-29 | 5:24 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.93 | 46.1 | ug/kg | [22 empty] | 5.56 | 0.72863 | 2.1244 | µg/L
LDW18-PWPS-A17 | 53-70-3 | Dibenz[a,h]anthracene | 34 | ug/kg | J | Y | 2018-12-29 | 5:24 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 7.06 | 45.3 | ug/kg | [22 empty] | 7.28 | 0.20292 | 0.0087933 | µg/L
LDW18-PWPS-A17 | 193-39-5 | Indeno[1,2,3-cd]pyrene | 145 | ug/kg |  | Y | 2018-12-29 | 5:24 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.39 | 46.1 | ug/kg | [22 empty] | 7.36 | 0.26611 | 0.023786 | µg/L
LDW18-PWPS-A18 | 56-55-3 | Benz[a]anthracene | 294 | ug/kg |  | Y | 2018-12-29 | 2:09 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.26 | 50.8 | ug/kg | [22 empty] | 5.56 | 0.68484 | 1.1824 | µg/L
LDW18-PWPS-A18 | 50-32-8 | Benzo[a]pyrene | 465 | ug/kg |  | Y | 2018-12-29 | 2:09 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 4.26 | 50.5 | ug/kg | [22 empty] | 6.16 | 0.56814 | 0.56624 | µg/L
LDW18-PWPS-A18 | 205-99-2 | Benzo[b]fluoranthene | 797 | ug/kg |  | Y | 2018-12-29 | 2:09 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.91 | 50.9 | ug/kg | [22 empty] | 6.16 | 0.64596 | 0.8536 | µg/L
LDW18-PWPS-A18 | 205823/207089 | Benzo[j,k]fluoranthenes | 670 | ug/kg |  | Y | 2018-12-29 | 2:09 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 3.22 | 50.9 | ug/kg | [22 empty] | 6.16 | 0.64596 | 0.71758 | µg/L
LDW18-PWPS-A18 | 218-01-9 | Chrysene | 641 | ug/kg |  | Y | 2018-12-29 | 2:09 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.4 | 50.7 | ug/kg | [22 empty] | 5.56 | 0.72308 | 2.4416 | µg/L
LDW18-PWPS-A18 | 53-70-3 | Dibenz[a,h]anthracene | 44.1 | ug/kg | J | Y | 2018-12-29 | 2:09 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 5.26 | 49.8 | ug/kg | [22 empty] | 7.28 | 0.19216 | 0.012044 | µg/L
LDW18-PWPS-A18 | 193-39-5 | Indeno[1,2,3-cd]pyrene | 216 | ug/kg |  | Y | 2018-12-29 | 2:09 | D | 1C | INITIAL |  | TRG | Yes | Y |  | 2.71 | 50.8 | ug/kg | [22 empty] | 7.36 | 0.25431 | 0.037076 | µg/L

## QAPP PAH Kow
From Clam QAPP

## QAInfo
Project: | CF1141 0501
Purpose: | Porewater PRC calculations December 2018 data
Notes:
PRC depletion = [(average from Day 1,2,3) - Sample PRC Result]/(Average from Day 1,2,3)
Frac PRC loss = 1 - (Sample PRC Result/Average from Day 1,2,3)
Cfree = (PAH conc x1000/Feq)/(10^logKpew)
Worksheets: | Name | Description
| PS cPAHs | Source data
| PRC Depletion | PRC depletion calculations
| PRC Correction | Upal Ghosh First Order calculations
| Feq | Feqs calculated from Upal Ghosh First Order calculations
| QAPP PAH Kow | Copied from Clam QAPP
| Cfree | Calculation Cfree
PassiveSampler_cPAHs_toIntegral.xlsx
History: | Date | Remarks
| 2019-01-22 | G. Esler imports source data
QA: | Worksheet | QA steps taken | Findings | QA completed by | Date of QA | Corrected? (Initials) | 2nd round - QA steps taken | 2nd round - Findings | 2nd QA completed by | Date of QA | Corrected?
| PS cPAHs | Verify copied correctly from source file: PassiveSampler_cPAHs_toIntegral.xlsx | No issues found. | MTD | 2019-01-28
| PRC depletion | Verify PRC data pulled in correctly from PS cPAHs (Values for NDs changed to 0). PRC data highlighted on source table. | No issues found. | MTD | 2019-01-28
|  | Verify PRC mean and std dev of PRCs for PCB Day Zero #1, PCB Day Zero #2, and PCB Day Zero #3 | No issues found. | MTD | 2019-01-28
|  | Verify percent depletion calculations and Frac PRC Loss calculations for the samples and that the results are equal. (spot check 10%) | No issues found. | MTD | 2019-01-28
| PRC Correc | Verify Kow for PRCs pulled in correctly from QAPP PAH Kow worksheet | No issues found. | MTD | 2019-01-28
|  | Verify PRC initial is mean of PRCs from PRC depletetion worksheet. | No issues found. | MTD | 2019-01-28
|  | Verify PRC Final concentrations for each sample from PRC depletion worksheet | No issues found. | MTD | 2019-01-28
|  | Verify PRC(Initial)/PRC(Final) calculation for each sample and PAH | No issues found. | MTD | 2019-01-28
|  | Verify ke (day-1), log10 ke, slope, intercept calculations for each sample | No issues found. | MTD | 2019-01-28
|  | Verify ke (day-1) and Feq factor calculations. | No issues found. | MTD | 2019-01-28
| Feq | Verify Feq pulled in correctly from PRC Correction worksheet | No issues found. | MTD | 2019-01-28
| Cfree | Verify results, result_unit, detect-flag, lab qualifiers pulled in correctly from PS cPAHs worksheet | No issues found. | MTD | 2019-01-28
|  | Verify Feq pulled in correctly from Feq tab | No issues found. | MTD | 2019-01-28
|  | Verify log KPEW (LW/kgPE) pulled in correctly from QAPP PAH Kow tab. | No issues found. | MTD | 2019-01-28
|  | Verify Cfree calculations = (PAH conc x 1000/Feq)/(10^log KPEW (LW/kgPE)) | No issues found. | MTD | 2019-01-28
|  | Verify units | No issues found. | MTD | 2019-01-28